## SUMMARY
Caisley Developments Ltd.
Strata VAS2686 — Parkade Envelope Remediation, 1066/1068 Maple St & 1988/1998 Ogden Ave, Vancouver BC
CLIENT ESTIMATE
Date: 2026-07-21
Drawings: wndr architecture + design inc., Building Permit set DB-2022-05336, 5 sheets (A-1.0, A-2.0, A-2.1, A-6.0, A-6.1), issued 23.03.06 rev 04 'BP Deficiencies', City of Vancouver ACCEPTED 2023-03-22
NOT CONFIRMED AS THE CURRENT DRAWING SET — priced as issued above
| Division | Amount
| DIVISION 1 - GENERAL REQUIREMENTS | 118174
| DIVISION 2 - SITEWORK | 155927.64
| DIVISION 3 - CONCRETE | 99939.72
| DIVISION 5 - METALS | 31010.23
| DIVISION 6 - WOOD AND PLASTICS | 16142.52
| DIVISION 7 - THERMAL AND MOISTURE PROTECTION | 151849.32
| DIVISION 9 - FINISHES | 0
| DIVISION 10 - SPECIALTIES | 16591.04
| DIVISION 15 - MECHANICAL | 18989.08
| DIVISION 16 - ELECTRICAL | 0
| SUB-TOTAL | 608623.55
| CONTINGENCY / INFLATION @ 10.0% | 60862.355
| SUB-TOTAL INCLUDING CONTINGENCY | 669485.905
| CONTRACTOR'S FEE @ 10.0% | 66948.5905
| SUB-TOTAL INCLUDING FEE | 736434.4955
| GST @ 5.0% | 36821.7248
| TOTAL ESTIMATE | 773256.2203

## ASSUMPTIONS
Assumptions
1. | Exposed parkade deck requiring membrane replacement taken at 3,400 sq.ft. This is INFERRED, not stated. It is derived two ways that converge: (a) parkade gross deck of approx. 4,400 sq.ft. less approx. 800 sq.ft. under 1988 Ogden, giving 3,600 sq.ft.; (b) site area 8,315 sq.ft. less building footprints of 3,246 sq.ft. less front and rear yards outside the parkade of approx. 1,843 sq.ft., giving 3,226 sq.ft. The drawings state only the parkade INTERIOR parking area (approx. 4,207 sq.ft., A-2.0). This single quantity drives roughly 45% of the estimate — see Question 1.
2. | Building footprints computed from the dimension strings on A-2.1: 1988 Ogden 32'-9" x 24'-3 3/8" = 795 sq.ft.; 1998 Ogden 32'-3 5/8" x 24'-9 1/4" = 800 sq.ft.; 1066/1068 Maple 45'-4 7/8" x 36'-4 1/4" = 1,651 sq.ft. These reconcile to the stated site dimensions of 129.95 ft and 122.02 ft to within 0.1%.
3. | Membrane upturn taken at 500 lineal ft of deck perimeter x 1.5 ft height (min 8" above finished grade per all A-6.0 details), giving 750 sq.ft. added to the deck area. 10% waste applied to the membrane and drain mat quantities.
4. | Programme assumed at 5 months (11 bi-weekly periods), phased to follow the two-phase tree protection fencing sequence on A-1.0 and the temporary night-seal sequencing on A-6.0 detail 04. Div 1 scales with this duration — if the programme moves, Div 1 and the blended labour rate must both be recomputed.
5. | Contractor's labour is estimated at a blended crew rate and billed at the individual trade rates. Supervisory and labourer lines are carried at their own rates rather than the blend.
6. | Priced on a 2026 basis. BC PST and material handling are embedded in the rates, which is why no PST line appears in the summary. GST is shown separately.
7. | Existing structural slab assumed sound and capable of receiving the new topping without structural repair. Only surface concrete remediation of slab, curbs and parkade wall is carried (code 3.4).
8. | Existing slab assumed to have some fall to drain. Every A-6.0 detail carries the note 'CONTRACTOR TO CONFIRM IF EXISTING IS SLOPED'; topping priced at an average 2" thickness on that basis.
9. | Parkade assumed to remain in operation, with the deck remediated in phases so that resident vehicle and pedestrian access is maintained throughout. Pricing includes phased night seals but not full parkade closure or off-site parking.
10. | Existing membrane and drain mat assumed present and lapped to, per A-6.0 detail 05. Not assumed to be reusable anywhere within the scope line.
11. | Drain count assumed at 6. No mechanical drawings were issued; A-6.1 refers all drain specification to mech.
12. | Six existing gates, hedges, shrubs and all 18 trees other than the noted section of hedge #9 are retained and protected in place.
13. | Cost code 10.1 has been repurposed for this job as 'Firestopping' — there is no standing code for 2hr F/T rated fire separation work. This renaming is recorded so the client document and the Sage export agree.

## EXCLUSIONS
Exclusions
1. | Building permit and City fees — permit DB-2022-05336 was issued to the Owner in March 2023
2. | Structural engineering design, review of deteriorated studs, and field review
3. | Arborist report, tree removal permits and landscape plan approval
4. | Landscape and mechanical consultant design — neither drawing package was issued with this set
5. | Strata legal, engineering review and depreciation report costs
6. | Temporary relocation of residents and off-site parking during the works
7. | Hazardous materials survey and abatement
8. | Insulation, vapour barrier, concrete topping, gypsum board and interior finish at the base of exterior walls — noted on A-6.0 as by the interior renovation contractor
9. | Structural repair to parkade slab, columns, beams or walls beyond surface concrete remediation
10. | Repair of interior finishes damaged by pre-existing water ingress
11. | Sprinkler system modifications
12. | Electrical work, landscape and security lighting, and relocation of conduit encountered in the deck
13. | Reconstruction of the concrete driveway ramp surface
14. | Any upgrade of parkade items to current code

## QUESTIONS
Open questions
1. | What is the actual area of exposed parkade deck within the scope-of-slab-remediation line on A-2.1? The drawings state the parkade INTERIOR parking area (approx. 4,207 sq.ft.) but never the deck area to be remediated, and the three nested lines on A-2.1 (scope line, exterior face of parkade, interior face of parkade) are within a foot or two of each other at the only point they are labelled. A confirmed deck area, or permission to survey the site, is the single highest-value piece of information for this estimate. Assumed meanwhile: 3,400 sq.ft. of exposed deck. Every 100 sq.ft. of error moves the estimate by approximately $3,900 before fee and GST. Affects: 2.2, 3.2, 7.1, 7.6
2. | Is DB-2022-05336 rev 04 dated 23.03.06 still the current set? The permit was accepted by the City on 2023-03-22, over three years ago. Has the set been revised, has the permit lapsed or been extended, and has any of the work already been carried out? Assumed meanwhile: Priced as the March 2023 issue, with rates escalated to a 2026 construction start. Affects: whole estimate
3. | Where are the landscape drawings? A-6.0 and A-6.1 refer to landscape for finishes at eight separate points, and A-2.1 shows pavers on pedestals, pavers on gravel, lawn, planting and a BBQ area without specification. Assumed meanwhile: P.C. allowances of $18,000 for planting and $12,000 for hard landscaping, plus unit-rate paving at mid-range paver specifications. Affects: 2.9, 2.11, 2.12, 2.16
4. | Where are the structural drawings? A-6.0 says 'SEE STRUCTURAL FOR STEEL REINFORCEMENT' and 'STUDS TO BE REVIEWED BY STRUCTURAL', and A-6.1 says 'NEW REINFORCING PER STRUCTURAL'. Assumed meanwhile: P.C. of $9,500 for reinforcing and $14,000 for deteriorated sheathing and stud replacement. Affects: 3.3, 6.2
5. | Where are the mechanical drawings? A-6.1 refers all deck drains, area drains and drain insulation to mech, and gives no count or location. Assumed meanwhile: 6 drains, tied into existing parkade storm drainage under a $8,500 P.C. Affects: 15.1
6. | Is the existing slab sloped to drain? Six separate details carry the note 'CONTRACTOR TO CONFIRM IF EXISTING IS SLOPED'. If it is flat, the topping must build the entire 2% fall and thickness increases substantially at the high points. Assumed meanwhile: Existing slab has partial fall; topping priced at 2" average. Affects: 3.2
7. | What is the condition of the existing concrete slab, curbs and parkade wall beneath the topping? None of it is visible and no condition survey or engineering report accompanies the set. Assumed meanwhile: P.C. of $32,000, sized at surface repair to 15% of the deck area. Affects: 3.4
8. | Must the parkade remain in use throughout, and must all four units retain vehicle access at all times? This governs the phasing and therefore the programme. Assumed meanwhile: Parkade remains in operation; work phased with night seals; 5-month programme. Affects: 1.1, 1.8, 7.6
9. | Has a hazardous materials survey been done? The buildings date from 1990, which is within the range for asbestos in below-grade waterproofing and mastics. The existing membrane will be removed and disposed of. Assumed meanwhile: No hazardous material present. Survey and abatement excluded. Affects: 2.2, 2.3
10. | How much fill sits above the parkade slab? Depth is not dimensioned anywhere in the set and drives both the excavation quantity and the disposal load count. Assumed meanwhile: 8" average fill plus 3" topping, giving 125 cubic yards and 14 bins. Affects: 2.3, 1.6
11. | Confirm the extent of the 2hr F/T firestopping at the parkade ceiling. A-1.0 says new firestopping will be installed 'where it is impractical to keep existing fire stopping products' — that condition cannot be assessed until the deck is opened. Assumed meanwhile: P.C. of $16,000. Affects: 10.1
12. | Caisley completed an interior renovation at 1988 Ogden Ave. Is that the same unit referenced on A-6.0 as having interior work by others, and does any of that work interface with this scope? Assumed meanwhile: The interior scope at the base of exterior walls is by the interior renovation contractor and is excluded here. Affects: 7.3, 6.2